## Cover
Supply Guide
Functional Equivalents Report
October 1, 2024
Prepared By: | ECRI
Functional Equivalents Report for Goods Manufactured at the Baxter, North Carolina Facility Since a Baxter International Inc. facility in North Carolina halted production due to damage from Hurricane Helene, medical facilities may experience possible shortages of normal saline, dialysis solutions, and additional IV products which are critical for patient care. ECRI published this market analysis and functional equivalents report to help healthcare providers navigate shortages caused by the Baxter facility shutdown. The report identifies up to the top three alternatives from other manufacturers to the IV and irrigation solutions affected by the plant closure.

## Functional Equivalents
[5 empty] | POTENTIAL CROSS ITEM #1 | [11 empty] | POTENTIAL CROSS ITEM #2 | [11 empty] | POTENTIAL CROSS ITEM #3
Manufacturer | Manufacturer Catalog Number | Item Description | Unit Of Measure | Category | Percent Match | Manufacturer | Manufacturer Catalog Number | Item Description | Unit Of Measure | Supply Guide Low | Supply Guide 25th Percentile | Supply Guide Median | Supply Guide 75th Percentile | Supply Guide High | Non-Matching KPIs | Matching KPIs | Percent Match | Manufacturer | Manufacturer Catalog Number | Item Description | Unit Of Measure | Supply Guide Low | Supply Guide 25th Percentile | Supply Guide Median | Supply Guide 75th Percentile | Supply Guide High | Non-Matching KPIs | Matching KPIs | Percent Match | Manufacturer | Manufacturer Catalog Number | Item Description | Unit Of Measure | Supply Guide Low | Supply Guide 25th Percentile | Supply Guide Median | Supply Guide 75th Percentile | Supply Guide High | Non-Matching KPIs | Matching KPIs
Baxter International | 2B0062Q | DEXTROSE 5% INJECTION USP 250M L MIGRATED | EA | Solutions Intravenous | 100 | ICU Medical Inc | 0792202 | SOLUTION INTRAVENOUS 250ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | EA | 1.28 | 3 | 3.27 | 5.48 | 5.67 |  | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 88 | ICU Medical Inc | 0792209 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.36 | 36 | 39.24 | 39.24 | 52.32 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 88 | ICU Medical Inc | 0792203 | SOLUTION INTRAVENOUS 500ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 55.92 | 74.16 | 78.48 | 78.96 | 104.64 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B0063Q | DEXTROSE 5% INJECTION USP 500M L MIGRATED | EA | Solutions Intravenous | 100 | ICU Medical Inc | 0792203 | SOLUTION INTRAVENOUS 500ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 55.92 | 74.16 | 78.48 | 78.96 | 104.64 |  | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 88 | ICU Medical Inc | 0792209 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.36 | 36 | 39.24 | 39.24 | 52.32 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 88 | ICU Medical Inc | 0792202 | SOLUTION INTRAVENOUS 250ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | EA | 1.28 | 3 | 3.27 | 5.48 | 5.67 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B0064X | DEXTROSE 5% INJECTION USP 1000 ML MIGRATED | EA | Solutions Intravenous | 100 | ICU Medical Inc | 0792209 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.36 | 36 | 39.24 | 39.24 | 52.32 |  | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 88 | ICU Medical Inc | 0792202 | SOLUTION INTRAVENOUS 250ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | EA | 1.28 | 3 | 3.27 | 5.48 | 5.67 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 88 | ICU Medical Inc | 0792203 | SOLUTION INTRAVENOUS 500ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 55.92 | 74.16 | 78.48 | 78.96 | 104.64 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B0162Q | 10% DEXTROSE INJECTION USP 250 ML MIGRATED | EA | Solutions Intravenous | 68 | ICU Medical Inc | 0792202 | SOLUTION INTRAVENOUS 250ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | EA | 1.28 | 3 | 3.27 | 5.48 | 5.67 | DEXTROSE, %,SOLUTION NAME,OSMOLARITY, mOsmol/L | NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B0163Q | 10% DEXTROSE INJECTION USP 500 ML MIGRATED | EA | Solutions Intravenous | 68 | ICU Medical Inc | 0792203 | SOLUTION INTRAVENOUS 500ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 55.92 | 74.16 | 78.48 | 78.96 | 104.64 | DEXTROSE, %,SOLUTION NAME,OSMOLARITY, mOsmol/L | NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B0164X | 10% DEXTROSE INJ USP 1000ML | EA | Solutions Intravenous | 68 | ICU Medical Inc | 0792503 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.3% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 55.92 | 55.92 | 120 | 120 | 131.52 | DEXTROSE, %,SOLUTION NAME,OSMOLARITY, mOsmol/L | NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 68 | ICU Medical Inc | 0792609 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 33 | 37.92 | 40.22 | 66.12 | DEXTROSE, %,SOLUTION NAME,OSMOLARITY, mOsmol/L | NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 68 | ICU Medical Inc | 0792209 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.36 | 36 | 39.24 | 39.24 | 52.32 | DEXTROSE, %,SOLUTION NAME,OSMOLARITY, mOsmol/L | NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B0304X | STERILE WATER FOR INJ.USP 1000ML | EA | Solutions Intravenous | 100 | ICU Medical Inc | 0799009 | SOLUTION INTRAVENOUS 1000ML STERILE WATER NONPYROGENIC DEHP PVC STERILE LATEX FREE | CS | 27.12 | 36 | 39.24 | 39.53 | 52.95 |  | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0798309 | SOLUTION INTRAVENOUS 1000ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.12 | 36 | 39.24 | 39.44 | 54.94 | SOLUTION NAME,OSMOLARITY, mOsmol/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0925739 | SOLUTION INTRAVENOUS 1000ML POTASSIUM CHLORIDE IN 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 17.52 | 18 | 19.56 | 21 | 28.1114 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B0306 | STER WATER FOR INJ. USP 2000 ML (PHARM BULK PKG) | EA | Solutions Intravenous | 88 | ICU Medical Inc | 0799009 | SOLUTION INTRAVENOUS 1000ML STERILE WATER NONPYROGENIC DEHP PVC STERILE LATEX FREE | CS | 27.12 | 36 | 39.24 | 39.53 | 52.95 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 68 | ICU Medical Inc | 0798361 | SOLUTION INTRAVENOUS 150ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 45.12 | 104.64 | 175.36 | 175.36 | 241.32 | SOLUTION NAME,OSMOLARITY, mOsmol/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 68 | ICU Medical Inc | 0798303 | SOLUTION INTRAVENOUS 500ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 39.24 | 50.88 | 77.85 | 80.64 | 151.03 | SOLUTION NAME,OSMOLARITY, mOsmol/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B0307 | STERILE WATER FOR INJ. USP 3000 ML (PHARM BULK PKG) | EA | Solutions Intravenous | 88 | ICU Medical Inc | 0799009 | SOLUTION INTRAVENOUS 1000ML STERILE WATER NONPYROGENIC DEHP PVC STERILE LATEX FREE | CS | 27.12 | 36 | 39.24 | 39.53 | 52.95 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 68 | ICU Medical Inc | 0798309 | SOLUTION INTRAVENOUS 1000ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.12 | 36 | 39.24 | 39.44 | 54.94 | SOLUTION NAME,OSMOLARITY, mOsmol/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 68 | ICU Medical Inc | 0798503 | SOLUTION INTRAVENOUS 500ML 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 45.6 | 51.36 | 55.92 | 78.48 | 78.48 | SOLUTION NAME,OSMOLARITY, mOsmol/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B0309 | STERILE WATER FOR INJ. USP 5000 ML (PHARM BULK PKG) | EA | Solutions Intravenous | 88 | ICU Medical Inc | 0799009 | SOLUTION INTRAVENOUS 1000ML STERILE WATER NONPYROGENIC DEHP PVC STERILE LATEX FREE | CS | 27.12 | 36 | 39.24 | 39.53 | 52.95 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 68 | ICU Medical Inc | 0798309 | SOLUTION INTRAVENOUS 1000ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.12 | 36 | 39.24 | 39.44 | 54.94 | SOLUTION NAME,OSMOLARITY, mOsmol/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 68 | ICU Medical Inc | 0798361 | SOLUTION INTRAVENOUS 150ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 45.12 | 104.64 | 175.36 | 175.36 | 241.32 | SOLUTION NAME,OSMOLARITY, mOsmol/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B1024X | 2.5% DEX AND 0.45% SOD CHL INJ USP | EA | Solutions Intravenous | 77 | ICU Medical Inc | 0792209 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.36 | 36 | 39.24 | 39.24 | 52.32 | DEXTROSE, %,SOLUTION NAME | NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 68 | ICU Medical Inc | 0792609 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 33 | 37.92 | 40.22 | 66.12 | DEXTROSE, %,SOLUTION NAME,OSMOLARITY, mOsmol/L | NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 68 | ICU Medical Inc | 0792503 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.3% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 55.92 | 55.92 | 120 | 120 | 131.52 | DEXTROSE, %,SOLUTION NAME,OSMOLARITY, mOsmol/L | NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B1063Q | 5% DEX AND 0.9% SOD CHL INJ, U SP | EA | Solutions Intravenous | 88 | ICU Medical Inc | 0794109 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 27.96 | 37.08 | 39.53 | 66.12 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0792203 | SOLUTION INTRAVENOUS 500ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 55.92 | 74.16 | 78.48 | 78.96 | 104.64 | SOLUTION NAME,OSMOLARITY, mOsmol/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 68 | ICU Medical Inc | 0792909 | SOLUTION INTRAVENOUS 1000ML LACTATED RINGER'S AND 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 31.59 | 39.24 | 40.22 | 66.58 | SOLUTION NAME,AMOUNT OF POTASSIUM, mEq/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B1064X | 5% DEX AND 0.9% SOD CHL ING, USP | EA | Solutions Intravenous | 100 | ICU Medical Inc | 0794109 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 27.96 | 37.08 | 39.53 | 66.12 |  | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0792209 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.36 | 36 | 39.24 | 39.24 | 52.32 | SOLUTION NAME,OSMOLARITY, mOsmol/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0792609 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 33 | 37.92 | 40.22 | 66.12 | SOLUTION NAME,OSMOLARITY, mOsmol/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B1073Q | 5% DEX AND 0.45% SOD CHL INJ, USP | EA | Solutions Intravenous | 88 | ICU Medical Inc | 0792609 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 33 | 37.92 | 40.22 | 66.12 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0792203 | SOLUTION INTRAVENOUS 500ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 55.92 | 74.16 | 78.48 | 78.96 | 104.64 | SOLUTION NAME,OSMOLARITY, mOsmol/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 68 | ICU Medical Inc | 0794109 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 27.96 | 37.08 | 39.53 | 66.12 | SOLUTION NAME,OSMOLARITY, mOsmol/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B1074X | 5% DEX AND 0.45% SOD CHL INJ, USP | EA | Solutions Intravenous | 100 | ICU Medical Inc | 0792609 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 33 | 37.92 | 40.22 | 66.12 |  | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0794109 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 27.96 | 37.08 | 39.53 | 66.12 | SOLUTION NAME,OSMOLARITY, mOsmol/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0792209 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.36 | 36 | 39.24 | 39.24 | 52.32 | SOLUTION NAME,OSMOLARITY, mOsmol/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B1094X | 5% DEX AND 0.2% SOD CHL INJ, USP | EA | Solutions Intravenous | 88 | ICU Medical Inc | 0792503 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.3% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 55.92 | 55.92 | 120 | 120 | 131.52 | SOLUTION NAME | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0792209 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.36 | 36 | 39.24 | 39.24 | 52.32 | SOLUTION NAME,OSMOLARITY, mOsmol/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0792609 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 33 | 37.92 | 40.22 | 66.12 | SOLUTION NAME,OSMOLARITY, mOsmol/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B1134X | 20 MEQ POT IN 5% DEX INJ-USP | EA | Solutions Intravenous | 82 | ICU Medical Inc | 0792209 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.36 | 36 | 39.24 | 39.24 | 52.32 | OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0794109 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 27.96 | 37.08 | 39.53 | 66.12 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0792909 | SOLUTION INTRAVENOUS 1000ML LACTATED RINGER'S AND 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 31.59 | 39.24 | 40.22 | 66.58 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B1313Q | 0.45% SODIUM CHLORIDE INJ USP | EA | Solutions Intravenous | 100 | ICU Medical Inc | 0798503 | SOLUTION INTRAVENOUS 500ML 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 45.6 | 51.36 | 55.92 | 78.48 | 78.48 |  | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0798303 | SOLUTION INTRAVENOUS 500ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 39.24 | 50.88 | 77.85 | 80.64 | 151.03 | SOLUTION NAME,OSMOLARITY, mOsmol/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0925739 | SOLUTION INTRAVENOUS 1000ML POTASSIUM CHLORIDE IN 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 17.52 | 18 | 19.56 | 21 | 28.1114 | AMOUNT OF POTASSIUM, mEq/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B1314X | 0.45% SODIUM CHL INJ, USP VIAFLEX PLASTIC CONTAINER | EA | Solutions Intravenous | 88 | ICU Medical Inc | 0798503 | SOLUTION INTRAVENOUS 500ML 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 45.6 | 51.36 | 55.92 | 78.48 | 78.48 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0925739 | SOLUTION INTRAVENOUS 1000ML POTASSIUM CHLORIDE IN 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 17.52 | 18 | 19.56 | 21 | 28.1114 | AMOUNT OF POTASSIUM, mEq/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0710167 | SOLUTION INTRAVENOUS 100ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC ADD-VANTAGE FLEXIBLE PLASTIC CONTAINER ROOM TEMPERATURE STORAGE ISOTONIC STERILE LATEX FREE | PK | 14.02 | 14.02 | 14.02 | 14.02 | 14.02 | SOLUTION NAME,OSMOLARITY, mOsmol/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B1322Q | SOD CHLOR 0.9% INJ USP VIAFLEX PLASTIC 250ML MIGRATED | EA | Solutions Intravenous | 100 | ICU Medical Inc | 0798302 | SOLUTION INTRAVENOUS 250ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 32.64 | 50.88 | 78.48 | 131.52 | 149.93 |  | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 88 | ICU Medical Inc | 0798309 | SOLUTION INTRAVENOUS 1000ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.12 | 36 | 39.24 | 39.44 | 54.94 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 88 | ICU Medical Inc | 0798361 | SOLUTION INTRAVENOUS 150ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 45.12 | 104.64 | 175.36 | 175.36 | 241.32 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B1323Q | SOD CHLOR 0.9% INJ USP VIAFLEX PLASTIC 500ML MIGRATED | EA | Solutions Intravenous | 100 | ICU Medical Inc | 0798303 | SOLUTION INTRAVENOUS 500ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 39.24 | 50.88 | 77.85 | 80.64 | 151.03 |  | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 88 | ICU Medical Inc | 0798309 | SOLUTION INTRAVENOUS 1000ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.12 | 36 | 39.24 | 39.44 | 54.94 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 88 | ICU Medical Inc | 0798302 | SOLUTION INTRAVENOUS 250ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 32.64 | 50.88 | 78.48 | 131.52 | 149.93 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B1324X | SOD CHLOR 0.9% INJ USP VIAFLEX 1000ML MIGRATED | EA | Solutions Intravenous | 100 | ICU Medical Inc | 0798309 | SOLUTION INTRAVENOUS 1000ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.12 | 36 | 39.24 | 39.44 | 54.94 |  | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 88 | ICU Medical Inc | 0798361 | SOLUTION INTRAVENOUS 150ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 45.12 | 104.64 | 175.36 | 175.36 | 241.32 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 88 | ICU Medical Inc | 0798302 | SOLUTION INTRAVENOUS 250ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 32.64 | 50.88 | 78.48 | 131.52 | 149.93 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B1353Q | 3% SODIUM CHLORIDE INJ, USP | EA | Solutions Intravenous | 80 | ICU Medical Inc | 0798503 | SOLUTION INTRAVENOUS 500ML 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 45.6 | 51.36 | 55.92 | 78.48 | 78.48 | SOLUTION NAME,OSMOLARITY, mOsmol/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0798303 | SOLUTION INTRAVENOUS 500ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 39.24 | 50.88 | 77.85 | 80.64 | 151.03 | SOLUTION NAME,OSMOLARITY, mOsmol/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 72 | ICU Medical Inc | 0793519 | SOLUTION INTRAVENOUS 500ML 20% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 67.08 | 67.08 | 69.12 | 72.6 | 72.6 | DEXTROSE, %,SOLUTION NAME,BAG CAPACITY, mL | NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B1357X | 20MEQ POTASSIUM CHLORIDE 0.45% SOD CHLORIDE INJ, USP | EA | Solutions Intravenous | 100 | ICU Medical Inc | 0925739 | SOLUTION INTRAVENOUS 1000ML POTASSIUM CHLORIDE IN 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 17.52 | 18 | 19.56 | 21 | 28.1114 |  | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0798503 | SOLUTION INTRAVENOUS 500ML 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 45.6 | 51.36 | 55.92 | 78.48 | 78.48 | AMOUNT OF POTASSIUM, mEq/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0798309 | SOLUTION INTRAVENOUS 1000ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.12 | 36 | 39.24 | 39.44 | 54.94 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B1373Q | 5% SODIUM CHLORIDE, INJ USP | EA | Solutions Intravenous | 80 | ICU Medical Inc | 0798303 | SOLUTION INTRAVENOUS 500ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 39.24 | 50.88 | 77.85 | 80.64 | 151.03 | SOLUTION NAME,OSMOLARITY, mOsmol/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0798503 | SOLUTION INTRAVENOUS 500ML 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 45.6 | 51.36 | 55.92 | 78.48 | 78.48 | SOLUTION NAME,OSMOLARITY, mOsmol/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 68 | ICU Medical Inc | 0710167 | SOLUTION INTRAVENOUS 100ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC ADD-VANTAGE FLEXIBLE PLASTIC CONTAINER ROOM TEMPERATURE STORAGE ISOTONIC STERILE LATEX FREE | PK | 14.02 | 14.02 | 14.02 | 14.02 | 14.02 | SOLUTION NAME,OSMOLARITY, mOsmol/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B1614X | 20MEQ POT CHL IN 5% DEX & 0.2% SOD CHL ING, USP | EA | Solutions Intravenous | 80 | ICU Medical Inc | 0792503 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.3% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 55.92 | 55.92 | 120 | 120 | 131.52 | SOLUTION NAME,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0794109 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 27.96 | 37.08 | 39.53 | 66.12 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0792909 | SOLUTION INTRAVENOUS 1000ML LACTATED RINGER'S AND 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 31.59 | 39.24 | 40.22 | 66.58 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B1644X | 10 MEQ POT CHL IN 5% DEX%0.45% SOD CHL INJ-1000ML | EA | Solutions Intravenous | 91 | ICU Medical Inc | 0792609 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 33 | 37.92 | 40.22 | 66.12 | AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0792909 | SOLUTION INTRAVENOUS 1000ML LACTATED RINGER'S AND 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 31.59 | 39.24 | 40.22 | 66.58 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0794109 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 27.96 | 37.08 | 39.53 | 66.12 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B1653Q | 10 MEQ POT CHL IN 5% DEX 0.45% SOD CHL INJ,USP (500 ML) | EA | Solutions Intravenous | 71 | ICU Medical Inc | 0792203 | SOLUTION INTRAVENOUS 500ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 55.92 | 74.16 | 78.48 | 78.96 | 104.64 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0792609 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 33 | 37.92 | 40.22 | 66.12 | OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B1654X | 20 MEQ POT CHL IN 5% DEX & 0.4 5% SOD CHL INJ, USP | EA | Solutions Intravenous | 82 | ICU Medical Inc | 0792609 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 33 | 37.92 | 40.22 | 66.12 | OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0792909 | SOLUTION INTRAVENOUS 1000ML LACTATED RINGER'S AND 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 31.59 | 39.24 | 40.22 | 66.58 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0794109 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 27.96 | 37.08 | 39.53 | 66.12 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B1664X | 30MEQ POT CHL IN 5%DEX & 0.45% SOD CHL INJ, USP | EA | Solutions Intravenous | 82 | ICU Medical Inc | 0792609 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 33 | 37.92 | 40.22 | 66.12 | OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0794109 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 27.96 | 37.08 | 39.53 | 66.12 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0792909 | SOLUTION INTRAVENOUS 1000ML LACTATED RINGER'S AND 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 31.59 | 39.24 | 40.22 | 66.58 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B1674X | 40 MEQ POT CHL IN 5% DEX&0.45% SOD CHL INJ, USP | EA | Solutions Intravenous | 82 | ICU Medical Inc | 0792609 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 33 | 37.92 | 40.22 | 66.12 | OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0792909 | SOLUTION INTRAVENOUS 1000ML LACTATED RINGER'S AND 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 31.59 | 39.24 | 40.22 | 66.58 | SOLUTION NAME,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0794109 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 27.96 | 37.08 | 39.53 | 66.12 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B1764X | 20 MEQ POT CHL IN .9% SOD CHL INJ,USP | EA | Solutions Intravenous | 91 | ICU Medical Inc | 0798309 | SOLUTION INTRAVENOUS 1000ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.12 | 36 | 39.24 | 39.44 | 54.94 | AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0798302 | SOLUTION INTRAVENOUS 250ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 32.64 | 50.88 | 78.48 | 131.52 | 149.93 | AMOUNT OF POTASSIUM, mEq/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0798361 | SOLUTION INTRAVENOUS 150ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 45.12 | 104.64 | 175.36 | 175.36 | 241.32 | AMOUNT OF POTASSIUM, mEq/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B1984X | 40 MEQ POT CHL IN 0.9% SOD CHL INJ | EA | Solutions Intravenous | 82 | ICU Medical Inc | 0798309 | SOLUTION INTRAVENOUS 1000ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.12 | 36 | 39.24 | 39.44 | 54.94 | OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0925739 | SOLUTION INTRAVENOUS 1000ML POTASSIUM CHLORIDE IN 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 17.52 | 18 | 19.56 | 21 | 28.1114 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0798361 | SOLUTION INTRAVENOUS 150ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 45.12 | 104.64 | 175.36 | 175.36 | 241.32 | OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B2073Q | LACTATED RINGER'S AND 5% DEXTR OSE | EA | Solutions Intravenous | 88 | ICU Medical Inc | 0792909 | SOLUTION INTRAVENOUS 1000ML LACTATED RINGER'S AND 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 31.59 | 39.24 | 40.22 | 66.58 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0792203 | SOLUTION INTRAVENOUS 500ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 55.92 | 74.16 | 78.48 | 78.96 | 104.64 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 68 | ICU Medical Inc | 0794109 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 27.96 | 37.08 | 39.53 | 66.12 | SOLUTION NAME,AMOUNT OF POTASSIUM, mEq/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B2074X | LACTATED RINGERS & 5% DEXTROSE INJ, USP | EA | Solutions Intravenous | 100 | ICU Medical Inc | 0792909 | SOLUTION INTRAVENOUS 1000ML LACTATED RINGER'S AND 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 31.59 | 39.24 | 40.22 | 66.58 |  | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0794109 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 27.96 | 37.08 | 39.53 | 66.12 | SOLUTION NAME,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0792209 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.36 | 36 | 39.24 | 39.24 | 52.32 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B2103Q | 5% DEXTROSE AND ELECTROLYTE NO 48 INJ. | EA | Solutions Intravenous | 71 | ICU Medical Inc | 0792203 | SOLUTION INTRAVENOUS 500ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 55.92 | 74.16 | 78.48 | 78.96 | 104.64 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 68 | ICU Medical Inc | 0798303 | SOLUTION INTRAVENOUS 500ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 39.24 | 50.88 | 77.85 | 80.64 | 151.03 | DEXTROSE, %,SOLUTION NAME,AMOUNT OF POTASSIUM, mEq/L | NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 68 | ICU Medical Inc | 0792503 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.3% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 55.92 | 55.92 | 120 | 120 | 131.52 | SOLUTION NAME,AMOUNT OF POTASSIUM, mEq/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B2224X | 20 MEQ POT CHL IN LACTATED RINGER'S AND 5% DEX | EA | Solutions Intravenous | 91 | ICU Medical Inc | 0792909 | SOLUTION INTRAVENOUS 1000ML LACTATED RINGER'S AND 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 31.59 | 39.24 | 40.22 | 66.58 | AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0794109 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 27.96 | 37.08 | 39.53 | 66.12 | SOLUTION NAME,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0792209 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.36 | 36 | 39.24 | 39.24 | 52.32 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B2322Q | LACTATED RINGER'S INJ, USP | EA | Solutions Intravenous | 88 | ICU Medical Inc | 0795309 | SOLUTION INTRAVENOUS 1000ML LACTATED RINGER'S NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 22.2 | 27.36 | 36 | 39.6 | 70.42 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0798209 | SOLUTION INTRAVENOUS 1000ML RINGER'S NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 41.13 | 41.13 | 41.13 | 62.64 | 62.64 | PH,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0798302 | SOLUTION INTRAVENOUS 250ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 32.64 | 50.88 | 78.48 | 131.52 | 149.93 | SOLUTION NAME,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B2323Q | LACTATED RINGER INJ, USP VIA FLEX PLASTIC CONTAINER 500ML | EA | Solutions Intravenous | 88 | ICU Medical Inc | 0795309 | SOLUTION INTRAVENOUS 1000ML LACTATED RINGER'S NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 22.2 | 27.36 | 36 | 39.6 | 70.42 | BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0798209 | SOLUTION INTRAVENOUS 1000ML RINGER'S NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 41.13 | 41.13 | 41.13 | 62.64 | 62.64 | PH,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0798303 | SOLUTION INTRAVENOUS 500ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 39.24 | 50.88 | 77.85 | 80.64 | 151.03 | SOLUTION NAME,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B2324X | LACTATED RINGER INJECTION, USP 1000ML VIAFLEX CONTAINER | EA | Solutions Intravenous | 88 | ICU Medical Inc | 0795309 | SOLUTION INTRAVENOUS 1000ML LACTATED RINGER'S NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 22.2 | 27.36 | 36 | 39.6 | 70.42 | SOLUTION NAME | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0798209 | SOLUTION INTRAVENOUS 1000ML RINGER'S NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 41.13 | 41.13 | 41.13 | 62.64 | 62.64 | SOLUTION NAME,PH | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,AMOUNT OF POTASSIUM, mEq/L,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0798309 | SOLUTION INTRAVENOUS 1000ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.12 | 36 | 39.24 | 39.44 | 54.94 | SOLUTION NAME,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B2434X | 20MEQ POT CHL IN 5% DEX&0.9% SOD CHL INJ, USP | EA | Solutions Intravenous | 82 | ICU Medical Inc | 0794109 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 27.96 | 37.08 | 39.53 | 66.12 | OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0792609 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 33 | 37.92 | 40.22 | 66.12 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0792209 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.36 | 36 | 39.24 | 39.24 | 52.32 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B2454X | 40 MEQ PJOT CHL IN 5% DE1X&0.9 % SOD CHL INJ, USP | EA | Solutions Intravenous | 82 | ICU Medical Inc | 0794109 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 27.96 | 37.08 | 39.53 | 66.12 | OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,SOLUTION NAME,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0792609 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE AND 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 24 | 33 | 37.92 | 40.22 | 66.12 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0792209 | SOLUTION INTRAVENOUS 1000ML 5% DEXTROSE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.36 | 36 | 39.24 | 39.24 | 52.32 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B2534X | PLASMA-LYTE 148 INJ (MULT ELECINJ TYPE 1, USP) | EA | Solutions Intravenous | 80 | ICU Medical Inc | 0798309 | SOLUTION INTRAVENOUS 1000ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.12 | 36 | 39.24 | 39.44 | 54.94 | SOLUTION NAME,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 80 | ICU Medical Inc | 0798209 | SOLUTION INTRAVENOUS 1000ML RINGER'S NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 41.13 | 41.13 | 41.13 | 62.64 | 62.64 | SOLUTION NAME,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0925739 | SOLUTION INTRAVENOUS 1000ML POTASSIUM CHLORIDE IN 0.45% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 17.52 | 18 | 19.56 | 21 | 28.1114 | SOLUTION NAME,OSMOLARITY, mOsmol/L,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B2543Q | PLASMA-LYTE A INJECTION PH 7.4 (MULTIPLE | EA | Solutions Intravenous | 71 | ICU Medical Inc | 0798303 | SOLUTION INTRAVENOUS 500ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 39.24 | 50.88 | 77.85 | 80.64 | 151.03 | SOLUTION NAME,PH,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 68 | ICU Medical Inc | 0795309 | SOLUTION INTRAVENOUS 1000ML LACTATED RINGER'S NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 22.2 | 27.36 | 36 | 39.6 | 70.42 | SOLUTION NAME,AMOUNT OF POTASSIUM, mEq/L,BAG CAPACITY, mL,FILL VOLUME, mL | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,LIGHT-PROTECTED BAG
Baxter International | 2B2544X | PLASMA-LYTE A INJECTION PH 7.4 MULTIPLE | EA | Solutions Intravenous | 80 | ICU Medical Inc | 0795309 | SOLUTION INTRAVENOUS 1000ML LACTATED RINGER'S NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 22.2 | 27.36 | 36 | 39.6 | 70.42 | SOLUTION NAME,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,PH,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0798309 | SOLUTION INTRAVENOUS 1000ML 0.9% SODIUM CHLORIDE NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 27.12 | 36 | 39.24 | 39.44 | 54.94 | SOLUTION NAME,PH,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG | 71 | ICU Medical Inc | 0798209 | SOLUTION INTRAVENOUS 1000ML RINGER'S NONPYROGENIC NONBACTERIOSTATIC DEHP PVC STERILE LATEX FREE | CS | 41.13 | 41.13 | 41.13 | 62.64 | 62.64 | SOLUTION NAME,PH,AMOUNT OF POTASSIUM, mEq/L | DEXTROSE, %,NON-DEHP,NON-PVC,OSMOLARITY, mOsmol/L,LATEX FREE,BAG GRADUATIONS,BAG CAPACITY, mL,FILL VOLUME, mL,LIGHT-PROTECTED BAG
Baxter International | 2B7114X | STERILE WATER FOR IRRIG,USP 1000ML | EA | Irrigation Solutions | 80 | McKesson Med Surg | 376291 | SOLUTION IRRIGATION 1000ML STERILE WATER BOTTLE LABELED COLOR CODED SCREW TOP DUST COVER CONTAINER LATEX FREE | CS | 15.25 | 21.74 | 27.55 | 34.06 | 55.2 | CONTAINER TYPE,GRADUATIONS,INDICATION | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,CONTAINER VOLUME, mL | 75 | Vyaire Medical Inc | 4872B | 120CC CUP STERILE WATER | CS | 21.26 | 21.26 | 21.26 | 25.66 | 25.66 | CONTAINER TYPE,CONTAINER VOLUME, mL,GRADUATIONS | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,INDICATION | 74 | McKesson Med Surg | 376210 | SOLUTION IRRIGATION 120ML STERILE WATER FOIL LIDDED CUP LATEX FREE | CS | 26.99 | 30.7 | 36.09 | 42.31 | 43.86 | CONTAINER TYPE,CONTAINER VOLUME, mL,GRADUATIONS,INDICATION | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION
Baxter International | 2B7116 | STER WATER FOR IRRIG USP,2000 ML UROMATIC | EA | Irrigation Solutions | 77 | B Braun Medical Inc | R8005 | SOLUTION IRRIGATION PH 5.7 2000ML STERILE WATER NONPYROGENIC HYPOTONIC TITAN XL CONTAINER ETHYLENE PROPYLENE BAG ROOM TEMPERATURE STORAGE DEHP FREE PVC FREE GRADUATED SHELF LIFE 36MONTHS LATEX FREE | CS | 32.46 | 36.14 | 37.34 | 40.5714 | 52.16 | NON-DEHP,NON-PVC | STERILE,IRRIGATION SOLUTION NAME,CONTAINER TYPE,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,CONTAINER VOLUME, mL,GRADUATIONS,INDICATION | 75 | Vyaire Medical Inc | 4872B | 120CC CUP STERILE WATER | CS | 21.26 | 21.26 | 21.26 | 25.66 | 25.66 | CONTAINER TYPE,CONTAINER VOLUME, mL,GRADUATIONS | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,INDICATION | 74 | McKesson Med Surg | 376210 | SOLUTION IRRIGATION 120ML STERILE WATER FOIL LIDDED CUP LATEX FREE | CS | 26.99 | 30.7 | 36.09 | 42.31 | 43.86 | CONTAINER TYPE,CONTAINER VOLUME, mL,GRADUATIONS,INDICATION | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION
Baxter International | 2B7117 | STERILE WATER FOR IRRIG.USP. 3000mL UROMATIC CONT. | EA | Irrigation Solutions | 77 | B Braun Medical Inc | R8006 | SOLUTION IRRIGATION PH 5.7 3000ML STERILE WATER NONPYROGENIC HYPOTONIC TITAN XL CONTAINER ETHYLENE PROPYLENE BAG ROOM TEMPERATURE STORAGE DEHP FREE PVC FREE GRADUATED SHELF LIFE 36MONTHS LATEX FREE | CS | 26.96 | 42.72 | 46.17 | 53.83 | 82.71 | NON-DEHP,NON-PVC | STERILE,IRRIGATION SOLUTION NAME,CONTAINER TYPE,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,CONTAINER VOLUME, mL,GRADUATIONS,INDICATION | 75 | Vyaire Medical Inc | 4872B | 120CC CUP STERILE WATER | CS | 21.26 | 21.26 | 21.26 | 25.66 | 25.66 | CONTAINER TYPE,CONTAINER VOLUME, mL,GRADUATIONS | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,INDICATION | 74 | McKesson Med Surg | 376210 | SOLUTION IRRIGATION 120ML STERILE WATER FOIL LIDDED CUP LATEX FREE | CS | 26.99 | 30.7 | 36.09 | 42.31 | 43.86 | CONTAINER TYPE,CONTAINER VOLUME, mL,GRADUATIONS,INDICATION | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION
Baxter International | 2B7124X | 0.9% SOD CHL IRRIG, USP 1000 ML UROMATIC CONT | EA | Irrigation Solutions | 80 | McKesson Med Surg | 376281 | SOLUTION IRRIGATION 1000ML 0.9% SODIUM CHLORIDE BOTTLE LABELED COLOR CODED CONTAINER STERILE LATEX FREE | CS | 10.35 | 19.55 | 22.59 | 26.66 | 46.85 | CONTAINER TYPE,GRADUATIONS,INDICATION | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,CONTAINER VOLUME, mL | 75 | Cardinal Health Inc | 1020 | SOLUTION IRRIGATION 100ML 0.9% SODIUM CHLORIDE BOTTLE ROOM TEMPERATURE STORAGE STERILE LATEX FREE ARGYLE | CS | 24.41 | 27.84 | 28.8 | 32.89 | 53.52 | CONTAINER TYPE,CONTAINER VOLUME, mL,GRADUATIONS | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,INDICATION | 74 | McKesson Med Surg | 376220 | SOLUTION IRRIGATION 120ML 0.9% SODIUM CHLORIDE FOIL LIDDED CUP STERILE LATEX FREE | CS | 29.04 | 31.74 | 33.15 | 36.31 | 44.54 | CONTAINER TYPE,CONTAINER VOLUME, mL,GRADUATIONS,INDICATION | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION
Baxter International | 2B7126 | 0.9% NACL IRRIG USP 2000 ML UR OMATIC CONTAINER | EA | Irrigation Solutions | 77 | B Braun Medical Inc | R8205 | BAG 2 L 0.9% SODIUM CHLORIDE IRRIGATION | CS | 28.96 | 31.06 | 32.72 | 34.52 | 37.95 | NON-DEHP,NON-PVC | STERILE,IRRIGATION SOLUTION NAME,CONTAINER TYPE,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,CONTAINER VOLUME, mL,GRADUATIONS,INDICATION | 75 | Cardinal Health Inc | 1020 | SOLUTION IRRIGATION 100ML 0.9% SODIUM CHLORIDE BOTTLE ROOM TEMPERATURE STORAGE STERILE LATEX FREE ARGYLE | CS | 24.41 | 27.84 | 28.8 | 32.89 | 53.52 | CONTAINER TYPE,CONTAINER VOLUME, mL,GRADUATIONS | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,INDICATION | 74 | McKesson Med Surg | 376220 | SOLUTION IRRIGATION 120ML 0.9% SODIUM CHLORIDE FOIL LIDDED CUP STERILE LATEX FREE | CS | 29.04 | 31.74 | 33.15 | 36.31 | 44.54 | CONTAINER TYPE,CONTAINER VOLUME, mL,GRADUATIONS,INDICATION | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION
Baxter International | 2B7127 | 0.9% SOD.CHL.IRRIG. USP 3000ML UROMATIC CONTAINER | EA | Irrigation Solutions | 77 | B Braun Medical Inc | R8206 | SOLUTION IRRIGATION OSMOLARITY 308MOSMOL/L PH 5.75 3000ML 0.9% SODIUM CHLORIDE NONPYROGENIC ISOTONIC TITAN XL CONTAINER ETHYLENE PROPYLENE BAG ROOM TEMPERATURE STORAGE DEHP FREE PVC FREE GRADUATED SHELF LIFE 36MONTHS STERILE LATEX FREE | CS | 26.47 | 41.0442 | 44.1 | 51.49 | 73.85 | NON-DEHP,NON-PVC | STERILE,IRRIGATION SOLUTION NAME,CONTAINER TYPE,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,CONTAINER VOLUME, mL,GRADUATIONS,INDICATION | 75 | Cardinal Health Inc | 1020 | SOLUTION IRRIGATION 100ML 0.9% SODIUM CHLORIDE BOTTLE ROOM TEMPERATURE STORAGE STERILE LATEX FREE ARGYLE | CS | 24.41 | 27.84 | 28.8 | 32.89 | 53.52 | CONTAINER TYPE,CONTAINER VOLUME, mL,GRADUATIONS | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,INDICATION | 74 | McKesson Med Surg | 376240 | SOLUTION IRRIGATION 100ML 0.9% SODIUM CHLORIDE BOTTLE LABELED COLOR CODED SCREW TOP CONTAINER STERILE LATEX FREE | EA | 0.57 | 0.76 | 0.76 | 0.83 | 1.3 | CONTAINER TYPE,CONTAINER VOLUME, mL,GRADUATIONS,INDICATION | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION
Baxter International | 2B7231 | 0.9% SOD CHL IRRIGATION, USP I N BAXTER STER CONT | EA | Irrigation Solutions | 86 | McKesson Med Surg | 376281 | SOLUTION IRRIGATION 1000ML 0.9% SODIUM CHLORIDE BOTTLE LABELED COLOR CODED CONTAINER STERILE LATEX FREE | CS | 10.35 | 19.55 | 22.59 | 26.66 | 46.85 | CONTAINER TYPE,INDICATION | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,CONTAINER VOLUME, mL,GRADUATIONS | 80 | McKesson Med Surg | 376270 | SOLUTION IRRIGATION 250ML 0.9% SODIUM CHLORIDE BOTTLE LABELED COLOR CODED CONTAINER STERILE LATEX FREE | CS | 28.9 | 38.11 | 43.88 | 46.39 | 67.12 | CONTAINER TYPE,CONTAINER VOLUME, mL,INDICATION | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,GRADUATIONS | 80 | McKesson Med Surg | 376240 | SOLUTION IRRIGATION 100ML 0.9% SODIUM CHLORIDE BOTTLE LABELED COLOR CODED SCREW TOP CONTAINER STERILE LATEX FREE | EA | 0.57 | 0.76 | 0.76 | 0.83 | 1.3 | CONTAINER TYPE,CONTAINER VOLUME, mL,INDICATION | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,GRADUATIONS
Baxter International | 2B7317 | 1.5% GLYCINE FOR IRRIG USP, 30 00 ML | EA | Irrigation Solutions | 77 | B Braun Medical Inc | R8406 | SOLUTION IRRIGATION OSMOLARITY 200MOSMOL/L PH 6.1 3000ML 1.5% GLYCINE NONTOXIC NONHEMOLYTIC NONPYROGENIC AQUEOUS TITAN XL CONTAINER ETHYLENE PROPYLENE BAG ROOM TEMPERATURE STORAGE DEHP FREE PVC FREE GRADUATED SHELF LIFE 36MONTHS STERILE LATEX FREE | CS | 46.89 | 48.3 | 50.97 | 58.6077 | 62.73 | NON-DEHP,NON-PVC | STERILE,IRRIGATION SOLUTION NAME,CONTAINER TYPE,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,CONTAINER VOLUME, mL,GRADUATIONS,INDICATION
Baxter International | 2B7357 | 3% SORBITOL IN WATER, 3000 ML UROMATIC CONTAINER | EA | Irrigation Solutions | 65 | B Braun Medical Inc | R8406 | SOLUTION IRRIGATION OSMOLARITY 200MOSMOL/L PH 6.1 3000ML 1.5% GLYCINE NONTOXIC NONHEMOLYTIC NONPYROGENIC AQUEOUS TITAN XL CONTAINER ETHYLENE PROPYLENE BAG ROOM TEMPERATURE STORAGE DEHP FREE PVC FREE GRADUATED SHELF LIFE 36MONTHS STERILE LATEX FREE | CS | 46.89 | 48.3 | 50.97 | 58.6077 | 62.73 | IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC | STERILE,CONTAINER TYPE,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,CONTAINER VOLUME, mL,GRADUATIONS,INDICATION
Baxter International | 2B7477 | 0.9% SOD CHL IRRIG, USP, 3000 ML ARTHROMATIC | EA | Irrigation Solutions | 77 | B Braun Medical Inc | R8206 | SOLUTION IRRIGATION OSMOLARITY 308MOSMOL/L PH 5.75 3000ML 0.9% SODIUM CHLORIDE NONPYROGENIC ISOTONIC TITAN XL CONTAINER ETHYLENE PROPYLENE BAG ROOM TEMPERATURE STORAGE DEHP FREE PVC FREE GRADUATED SHELF LIFE 36MONTHS STERILE LATEX FREE | CS | 26.47 | 41.0442 | 44.1 | 51.49 | 73.85 | NON-DEHP,NON-PVC | STERILE,IRRIGATION SOLUTION NAME,CONTAINER TYPE,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,CONTAINER VOLUME, mL,GRADUATIONS,INDICATION | 75 | Cardinal Health Inc | 1020 | SOLUTION IRRIGATION 100ML 0.9% SODIUM CHLORIDE BOTTLE ROOM TEMPERATURE STORAGE STERILE LATEX FREE ARGYLE | CS | 24.41 | 27.84 | 28.8 | 32.89 | 53.52 | CONTAINER TYPE,CONTAINER VOLUME, mL,GRADUATIONS | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,INDICATION | 74 | McKesson Med Surg | 376240 | SOLUTION IRRIGATION 100ML 0.9% SODIUM CHLORIDE BOTTLE LABELED COLOR CODED SCREW TOP CONTAINER STERILE LATEX FREE | EA | 0.57 | 0.76 | 0.76 | 0.83 | 1.3 | CONTAINER TYPE,CONTAINER VOLUME, mL,GRADUATIONS,INDICATION | STERILE,IRRIGATION SOLUTION NAME,NON-DEHP,NON-PVC,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION
Baxter International | 2B7487 | LACTATED RINGERS IRRIG, 3000 M L ARTHROMATIC | EA | Irrigation Solutions | 77 | B Braun Medical Inc | R8306 | SOLUTION IRRIGATION OSMOLARITY 273MOSMOL/L PH 6.75 3000ML LACTATED RINGERS NONPYROGENIC ISOTONIC TITAN XL CONTAINER ETHYLENE PROPYLENE BAG ROOM TEMPERATURE STORAGE DEHP FREE PVC FREE GRADUATED SHELF LIFE 36MONTHS STERILE LATEX FREE | CS | 37.19 | 46.31 | 48.03 | 52.0564 | 73.32 | NON-DEHP,NON-PVC | STERILE,IRRIGATION SOLUTION NAME,CONTAINER TYPE,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,CONTAINER VOLUME, mL,GRADUATIONS,INDICATION
Baxter International | 2B7489 | LACTATED RINGERS IRRIG, 5000 M L ARTHROMATIC | EA | Irrigation Solutions | 71 | B Braun Medical Inc | R8306 | SOLUTION IRRIGATION OSMOLARITY 273MOSMOL/L PH 6.75 3000ML LACTATED RINGERS NONPYROGENIC ISOTONIC TITAN XL CONTAINER ETHYLENE PROPYLENE BAG ROOM TEMPERATURE STORAGE DEHP FREE PVC FREE GRADUATED SHELF LIFE 36MONTHS STERILE LATEX FREE | CS | 37.19 | 46.31 | 48.03 | 52.0564 | 73.32 | NON-DEHP,NON-PVC,CONTAINER VOLUME, mL | STERILE,IRRIGATION SOLUTION NAME,CONTAINER TYPE,LATEX-FREE,ANTIMICROBIAL,NO RINSE SOLUTION,GRADUATIONS,INDICATION

## Disclaimer
Notice: The data contained in ECRI’s Supply Guide™ database has been submitted by ECRI’s Supply Guide members on a voluntary basis. Members agree not to provide ECRI with any data or information that is otherwise confidential in nature or that is protected under a confidentiality agreement with a third party. For selected items in the Supply Guide database, ECRI standardizes vendor and manufacturer names, item descriptions and related codes from ECRI’s Universal Medical Device Nomenclature System™ (UMDNS). ECRI makes no representations or warranties of any kind, including any implied warranty of merchantability of fitness, or representations regarding the accuracy or timeliness of the data or information, in the database, or any data derived therefrom, (including but not limited to data downloaded by the Member or data provided to Member by ECRI). ECRI’s Supply Guide pricing is based upon data with purchase dates within the last thirteen (13) month time period. The "low price" is the lowest price that has been submitted to ECRI for an item, the "25th percentile price" represents the mid-point between the "low price" and "median price" submitted, the "median price" represents the mid-point of all of the prices submitted for an item, the “75th percentile price” represents the mid-point between the "median price" and "high price" and the "high price" is the highest price that has been submitted to ECRI. Usage figures and rebates are not taken into consideration in the calculation of the Supply Guide prices. The identities of organizations submitting data to Supply Guide are not posted. Supply Guide reports are confidential and are solely for internal, non-commercial purposes within the member organization. Reports shall not be distributed, published, broadcast or sold, in whole or in part, to any third parties, including but not limited to contractors/or consultants. In addition, member organizations shall not use any information contained herein, including ECRI’s name or the names of its products and services, for marketing, or promotional purposes without ECRI’s prior written approval. To generate this report, ECRI used a 65% minimum match percentage threshold to identify alternatives based on key performance indicators within the category. ECRI also removed results manufactured by Baxter.